## Technical Capabilities
TECHNICAL Capability | Sub-Capabilities | Field Separates Out Sub-Capabilities | Element/Action | Related DRAFT Potential Rev 5 Controls Identified (BOLDED is Related DRAFT Potential Rev 4 Low Baseline Control)
Device Identity | Asset Identifier Support |  | Ability to uniquely identify the IoT device physically. | IA-3 Device Identification and Authentication
|  |  | Ability to uniquely identify the IoT device logically | IA-3 Device Identification and Authentication
|  |  | Ability to uniquely identify a remote IoT device | IA-3 Device Identification and Authentication
|  |  | Ability for the IoT device to support a unique device ID (e.g., to allow it to be linked to the person or process assigned to use the IoT device) | IA-4 Identifier Management
| Actions Based on Device Identity | Ability to configure IoT device access control policies using IoT device identity | Ability to hide IoT device identity from non-authorized entities | IA-3 Device Identification and Authentication
|  |  | Ability for the IoT device to differentiate between authorized and unauthorized remote users | IA-3 Device Identification and Authentication
|  |  | Ability for the IoT device to differentiate between authorized and unauthorized physical device users | IA-3 Device Identification and Authentication
|  |  | Ability to monitor specific actions based on IoT device identity | AU-3 Content of Audit Records
|  |  | Ability to identify software loaded on the IoT device based on IoT device identity | CM-8 System Component Inventory
| Device Authentication Support |  | Ability for the IoT device to identify itself as an authorized entity to other devices | IA-3 Device Identification and Authentication
|  |  | Ability to verify the identity of an IoT device | IA-3 Device Identification and Authentication
Device Configuration | Logical Access Privilege Configuration |  | Ability for only authorized entities to apply logical access privilege settings within the IoT device and configure logical access privilege as described in Logical Access to Interfaces | CM-5 ACCESS RESTRICTIONS FOR CHANGE
| Authentication and Authorization Configuration |  | Ability for only authorized entities to configure IoT device authentication policies and limitations as described in Logical Access to Interfaces | CM-5 ACCESS RESTRICTIONS FOR CHANGE
| Interface Configuration |  | Ability for only authorized entities to configure aspects related to the device’s interfaces as described in Logical Access to Interfaces | CM-5 ACCESS RESTRICTIONS FOR CHANGE
| Display Configuration |  | Ability to configure content to be shown within a device display as described in Logical Access to Interfaces | AC-8 SYSTEM USE NOTIFICATION
| Adaptable Configuration |  | Ability to change configurations on the IoT device based on operational events as described in Device Security and Cybersecurity Event Awareness | CM-3 CONFIGURATION CHANGE CONTROL
Data Protection | Cryptographic Capabilities and Support |  | Ability to utilize sufficient resources to employ cryptographic mechanisms | SC-13 Cryptographic Protection
|  |  | Ability to obtain and validate certificates | SC-17 Public Key Infrastructure
|  |  | Ability to verify digital signatures | SC-13 Cryptographic Protection
|  |  | Ability to run hashing algorithms | SC-13 Cryptographic Protection
|  |  | Ability to compute and compare hashes | SC-13 Cryptographic Protection
|  |  | Ability to change keys securely | SC-12 Cryptographic Key Establishment and Management
|  | Ability to manage cryptographic keys securely. | Ability to generate key pairs. | SC-12 Cryptographic Key Establishment and Management
|  |  | Ability to store encryption keys securely. | SC-12 Cryptographic Key Establishment and Management
|  |  | Ability to change keys securely. | SC-12 Cryptographic Key Establishment and Management
| Secure Storage | Ability to support encryption of data at rest. | Ability to cryptographically store passwords at rest, as well as other authentication data. | SC-28 Protection of Information at Rest
|  |  | Ability to support data encryption and signing to prevent data from being altered in device storage. | SC-28 Protection of Information at Rest
|  | Ability to secure data in device storage | Ability to secure data stored locally on the device | SC-28 Protection of Information at Rest
|  |  | Ability to secure data stored in remote storage areas (e.g., cloud, server, etc.) | SC-28 Protection of Information at Rest
|  |  | Ability to utilize separate storage partitions for system and user data | SC-28 Protection of Information at Rest
|  |  | Ability to “sanitize” or “purge” specific or all data within the device | MP-6 Media Sanitization
| Secure Transmission | Ability to configure the cryptographic algorithm to protect data in transit | Ability to support trusted data exchange with a specified minimum strength cryptography algorithm | SC-8 Transmission Confidentiality and Integrity (1)
|  |  | Ability to support data encryption and signing to prevent data from being altered in transit. | SC-8 Transmission Confidentiality and Integrity (1)
|  |  | Ability to utilize one or more capabilities to protect the data it transmits from unauthorized access and modification | SC-8 Transmission Confidentiality and Integrity
|  |  | Ability to use cryptographic means to validate the integrity of data transmitted | SC-8 Transmission Confidentiality and Integrity (1)
Logical Access to Interfaces | Authentication and Identity Management | Ability for the IoT device to support and require appropriate authentication | Ability for the IoT device to require authentication prior to connecting to the device | IA-2 IDENTIFICATION AND AUTHENTICATION (ORGANIZATIONAL USERS)
|  |  | Ability for the IoT device to support a second, or more, authentication method(s) through an out of band path such as: ∗ Temporary passwords or other one-use logon credentials ∗ Third-party credential checks ∗ Biometrics ∗ Text messages ∗ Hard Tokens ∗ Manufacturer proprietary method | IA-2 IDENTIFICATION AND AUTHENTICATION (ORGANIZATIONAL USERS) (1) (2)
|  |  | Ability for the IoT device to hide or mask authentication information during the authentication process | IA-6 Authenticator Feedback
|  | Ability to set and change authentication configurations, policies and limitations settings for the IoT device | Ability to set the time period for how long the device will remain locked after an established configurable limit of unsuccessful login attempts has been met | AC-7 UNSUCCESSFUL LOGON ATTEMPTS
|  |  | Ability to disable or lock access to the device after an established pre-defined or user-configurable number of unsuccessful login authentication attempts | AC-7 UNSUCCESSFUL LOGON ATTEMPTS
|  |  | Ability to display and/or report the previous date and time of the last successful login following successful login authentication | AC-9 PREVIOUS LOGON NOTIFICATION
|  |  | Ability to automatically disable accounts for the IoT device after an establish period of inactivity. ∗ Ability to support automatic logout of inactive accounts for the IoT device after a configurable established time period. ∗ Ability to support automatic removal of temporary, emergency and other special use accounts from the IoT device after an established time period | AC-2 ACCOUNT MANAGEMENT (3)(5)(2)
|  | Ability to display to IoT device users an organizationally-defined system use notification message or banner prior to successful IoT device authentication. (e.g., the message or banner would provide privacy and security notices consistent with applicable federal laws, Executive Orders, directives, policies, regulations, standards, and guidance) | Ability to create an organizationally-defined system use notification message or banner to be displayed on the IoT device * Ability to edit an existing IoT device display. ∗ Ability to establish the maximum size (in characters, bytes, etc.) of the available device display | AC-8 SYSTEM USE NOTIFICATION
|  |  | Ability to keep the notification message or banner on the device screen until the device user actively acknowledges and agrees to the usage conditions | AC-8 SYSTEM USE NOTIFICATION
|  | Ability to restrict all unauthorized interactions | Ability to identify authorized users and processes | IA-2 IDENTIFICATION AND AUTHENTICATION (ORGANIZATIONAL USERS)
|  |  | Ability to differentiate between authorized and unauthorized users (physical and remote) | IA-2 IDENTIFICATION AND AUTHENTICATION (ORGANIZATIONAL USERS)
|  |  | Ability to establish access to the IoT device to perform organizationally-defined user actions without identification or authentication | AC-14 PERMITTED ACTIONS WITHOUT IDENTIFICATION OR AUTHENTICATION
| Role Support and Management |  | Ability to create unique IoT device user accounts | AC-2 ACCOUNT MANAGEMENT
|  |  | Ability to assign roles to IoT device user accounts | AC-3 ACCESS ENFORCEMENT (7)
|  |  | Ability to identify unique IoT device user accounts | IA-4 IDENTIFIER MANAGEMENT
|  | Ability to support a hierarchy of logical access privileges for the IoT device based on roles (e.g., admin, emergency, user, local, temporary, etc. | Ability to establish user accounts to support role-based logical access privileges | AC-3 ACCESS ENFORCEMENT (7)
|  |  | Ability to administer user accounts to support role-based logical access privileges. | AC-3 ACCESS ENFORCEMENT (7)
|  |  | Ability to use organizationally-defined roles to define each user account’s access and permitted device actions | AC-3 ACCESS ENFORCEMENT (7)
|  |  | Ability to support multiple levels of user/process account functionality and roles for the IoT device | SC-2 SEPARATION OF SYSTEM AND USER FUNCTIONALITY
|  | Ability to apply least privilege to user accounts (i.e., to ensure that the processes operate at privilege levels no higher than necessary to accomplish required functions | Ability to create additional processes, roles (e.g., admin, emergency, temporary, etc.) and accounts as necessary to achieve least privilege. | AC-6 LEAST PRIVILEGE
|  |  | Ability to apply least privilege settings within the device (i.e., to ensure that the processes operate at privilege levels no higher than necessary to accomplish required functions) | AC-6 LEAST PRIVILEGE
|  |  | Ability to limit access to privileged device settings that are used to establish and administer authorization requirements | AC-6 LEAST PRIVILEGE
|  |  | Ability for authorized users to access privileged settings | AC-2 ACCOUNT MANAGEMENT (7)
|  | Ability to support organizationally-defined actions for the IoT device | Ability to create organizationally-defined accounts that support privileged roles with automated expiration conditions. | AC-2 ACCOUNT MANAGEMENT (7)
|  |  | Ability to establish organizationally-defined user actions for accessing the IoT device and/or device interface. | AC-2 ACCOUNT MANAGEMENT
|  |  | Ability to enable automation and reporting of account management activities * Ability to assign access to IoT device audit controls to specific roles or organizationally-defined personnel. ∗ Ability to control access to IoT device audit data. ∗ Ability to identify the user, process or device requesting access to the audit/accountability information (i.e., to ensure only authorized users and/or devices have access). | AC-2 ACCOUNT MANAGEMENT (1)
|  |  | Ability to establish conditions for shared/group accounts on the IoT device. | AC-2 ACCOUNT MANAGEMENT (9)
|  |  | Ability to administer conditions for shared/group accounts on the IoT device. | AC-2 ACCOUNT MANAGEMENT (9)
|  |  | Ability to restrict the use of shared/group accounts on the IoT device according to organizationally-defined conditions | AC-2 ACCOUNT MANAGEMENT (9)
|  |  | Ability to implement dynamic access control approaches (e.g., service-oriented architectures) that rely on: – run-time access control decisions facilitated by dynamic privilege management. – organizationally-defined actions to access/use device | AC-2 ACCOUNT MANAGEMENT (8)
|  |  | Ability to allow information sharing capabilities based upon the type and/or role of user attempting to share the information | AC-21 INFORMATION SHARING
|  |  | Ability to restrict access to IoT device software, hardware, and data based on user account roles, used with proper authentication of the identity of the user to determine type of authorization | AC-3 ACCESS ENFORCEMENT
| Limitations on Device Usage | Ability to establish restrictions for how the device can be used. Capabilities that may be necessary | Ability to establish pre-defined restrictions for information searches within the device | AC-21 INFORMATION SHARING (2)
|  |  | Ability to establish limits on authorized concurrent device sessions for: – User accounts – Roles – Groups – Dates – Times – Locations – Manufacturer established parameters | AC-10 CONCURRENT SESSION CONTROL
| External Connections | Ability to support external connections. Capabilities that may be necessary | Ability to securely interact with authorized external, third-party systems | AC-21 INFORMATION SHARING
|  |  | Ability to allow for the user/organization to establish the circumstances for when information sharing from the device and/or through the device interface will be allowed and prohibited | AC-21 INFORMATION SHARING
|  |  | Ability to establish automated information sharing to approved identified parties/entities | AC-21 INFORMATION SHARING
|  |  | Ability to identify when the external user’s system meets the required security requirements for a connection | AC-20 USE OF EXTERNAL SYSTEMS (1)
| Interface Control | Ability to establish controls for the connections made to the IoT device. Capabilities that may be necessary | Ability to establish requirements for remote access to the IoT device and/or IoT device interface including: – Usage restrictions – Configuration requirements – Connection requirements – Manufacturer established requirement | AC-17 REMOTE ACCESS
|  |  | Ability to restrict use of IoT device components (e.g., ports, functions, protocols, services, microphones, video, etc.). | CM-7 LEAST FUNCTIONALITY
|  |  | Ability to restrict use of IoT device services. | CM-7 LEAST FUNCTIONALITY
|  |  | Ability to enforce the established local and remote access requirements. | AC-3 ACCESS ENFORCEMENT
|  |  | Ability to prevent external access to the IoT device management interface. | AC-17 REMOTE ACCESS (4)
|  |  | Ability to control the IoT device’s logical interface (e.g., locally or remotely). | CM-3 CONFIGURATION CHANGE CONTROL
|  |  | Ability to change IoT device logical interface(s). | CM-3 CONFIGURATION CHANGE CONTROL
|  |  | Ability to control device responses to device input. | SI-15 INFORMATION OUTPUT FILTERING
|  |  | Ability to control output from the device | SI-15 INFORMATION OUTPUT FILTERING
|  |  | Ability to support communications technologies (including but not limited to): – 802.11x – Bluetooth – Ethernet -- Manufacturer defined | AC-18 WIRELESS ACCESS
|  |  | Ability to establish and configure IoT device settings for communications technologies including authentication protocols (e.g., EAP/TLS, PEAP). | AC-18 WIRELESS ACCESS
Software Update | N/A |  | Ability to update the software by authorized entities only using a secure and configurable mechanism | CM-5 Access Restrictions for Change
|  |  | Ability to identify the current version of the organizational audit policies and procedures governing the software update | CM-3 Configuration Change Control
|  |  | Ability to restrict software installations to only authorized individuals or processes | CM-5 Access Restrictions for Change
|  |  | Ability to restrict software changes/uninstallations to only authorized individuals or processes. | CM-5 Access Restrictions for Change
|  |  | Ability to verify software updates come from valid sources using an effective method (e.g., digital signatures, checksums, certificate validation, etc.) | SI-7 (15) Software, Firmware and Information Integrity
Cybersecurity State Awareness | Access to Event Information |  | Ability to access information about the IoT device’s cybersecurity state and other necessary data (e.g., trustworthy time). | SI-4 SYSTEM MONITORING
|  |  | Ability to preserve system state information | AU-12 AUDIT RECORD GENERATION
| Event Identification and Monitoring |  | Ability to identify organizationally-defined cybersecurity events (e.g., expected state change) that may occur on or involving the IoT device | SI-4 SYSTEM MONITORING
|  |  | Ability to monitor for organizationally-defined cybersecurity events (e.g., expected state change) that may occur on or involving the IoT device | SI-4 SYSTEM MONITORING
|  |  | Ability to support a list of events that are necessary for auditing purposes (to support the organizational auditing policy) | AU-2 EVENT LOGGING
|  |  | Ability to identify unique users interacting with the device (to allow for user session monitoring). | IA-2 IDENTIFICATION AND AUTHENTICATION (ORGANIZATIONAL USERS)
|  |  | Ability to support a monitoring process to check for disclosure of organizational information to unauthorized entities. (The device may be able to perform this check itself or provide the information necessary for an external process to check) | AU-13 MONITORING FOR INFORMATION DISCLOSURE
|  |  | Ability to monitor communications traffic | SC-7 BOUNDARY PROTECTION
|  |  | Ability to detect remote activation attempts | SC-15 COLLABORATIVE COMPUTING DEVICES AND APPLICATIONS
|  |  | Ability to detect remote activation of a collaborative computing device/component (e.g., microphone, camera, etc.) | SC-15 COLLABORATIVE COMPUTING DEVICES AND APPLICATIONS
|  |  | Ability to detect remote activation of sensors | SC-42 SENSOR CAPABILITY AND DATA
|  |  | Ability to define the characteristics of unapproved content | SI-4 SYSTEM MONITORING
|  |  | Ability to scan files for unapproved content | SI-4 SYSTEM MONITORING
| Event Response |  | Ability to generate alerts for specific events (e.g., capacity thresholds) | SI-4 SYSTEM MONITORING
|  |  | Ability to respond to alerts according to predefined responses (e.g., such as those dictated by the auditing policies of the organization). | IR-4 INCIDENT HANDLING
|  |  | Ability to alert connected information systems of potential issues found during the auditing process | AU-6 AUDIT RECORD REVIEW, ANALYSIS, AND REPORTING
|  |  | Ability to provide information to an external process that will issue auditing process alerts | AU-6 AUDIT RECORD REVIEW, ANALYSIS, AND REPORTING
|  |  | Ability to notify users of activation of a collaborative computing device | SC-15 COLLABORATIVE COMPUTING DEVICES AND APPLICATIONS
|  |  | Ability to provide a physical indicator of sensor use | SC-42 SENSOR CAPABILITY AND DATA
|  |  | Ability to respond following an auditing failure (either by the device or an external auditing process that interacts with the device) | AU-5 RESPONSE TO AUDIT LOGGING PROCESS FAILURES
|  |  | Ability to prevent download of unapproved content | SI-4 SYSTEM MONITORING
|  |  | Ability to delete unapproved content | SI-4 SYSTEM MONITORING
|  |  | Ability to support alternative security mechanisms when primary mechanisms (e.g., login protocol, encryption, etc.) are compromised | CP-13 ALTERNATIVE SECURITY MECHANISMS
| Audit Support | The device can generate audit logs for defined events | Ability to identify and capture organizationally-defined events using a persistent method | AU-2 EVENT LOGGING
|  |  | Ability to capture information related to organizationally-specified cybersecurity events (e.g., cybersecurity state, timestamp) through organizationally-defined means (e.g., logs). | AU-3 CONTENT OF AUDIT RECORDS
|  |  | Ability to create audit logs within the device for organizationally-defined and auditable events (e.g. account creation, modification, enabling, disabling, removal actions and notifications). | AU-2 EVENT LOGGING
|  | The device can capture required information in audit logs | Ability to track users interacting with the device, the time they interacted with the device, the time the user logged out of the device, and to list this information in an audit log. | AU-3 CONTENT OF AUDIT RECORDS
|  |  | Ability to log information pertaining to: ∗ The type of event that occurred ∗ The time that the event occurred ∗ Where the event occurred ∗ The source of the event ∗ The outcome of the event ∗ Identity of users/processes associated with the event | AU-3 CONTENT OF AUDIT RECORDS
|  |  | Ability to support auditing of configuration actions | CM-3 CONFIGURATION CHANGE CONTROL
|  |  | Ability to provide information as to why the device captured a particular event or set of events | AU-2 EVENT LOGGING
|  |  | Ability to capture organizationally-defined information to support examination of security incidents | AU-3 CONTENT OF AUDIT RECORDS
|  |  | Ability to record stored data access and usage | AU-2 EVENT LOGGING
|  | Ability to maintain audit logs in accordance with organizational policy | Ability to comply with organizational policy for storing persistent audit logs up to a predefined size. | AU-4 AUDIT LOG STORAGE CAPACITY
|  |  | Ability to comply with organizational policy for audit log retention period (i.e., the required time to keep the audit logs). | AU-11 AUDIT RECORD RETENTION
|  |  | Ability to delete audit logs in accordance with organizational policy | AU-11 AUDIT RECORD RETENTION
|  |  | Ability to send alerts that the logs are too big for the device to continue to store (if the predefined amount of time has not yet passed to delete them). | AU-5 RESPONSE TO AUDIT LOGGING PROCESS FAILURES (1)
|  | Ability to use timestamps to record the time an auditing event occurred | Ability to support organizationally-defined granularity in device timing measurements | AU-8 TIME STAMPS
|  |  | Ability to use synchronization with a verified time source to determine the validity of a timestamp. | AU-8 TIME STAMPS (1)
|  |  | Ability to record timestamps that can be translated to Coordinated Universal Time (UTC) or Greenwich Mean Time (GMT) to support a standardized representation of timing | AU-8 TIME STAMPS
|  |  | Ability to log timing measurements that stray beyond a set threshold value (e.g., enabling alerts if the device’s system time is too far out of sync to be reliable). | AU-8 TIME STAMPS
|  |  | Ability to report on its cybersecurity state | SI-4 SYSTEM MONITORING
|  |  | Ability to support a self-audit generation process | SI-4 SYSTEM MONITORING
|  |  | Ability to run audit scans (automated or otherwise) to provide specific information (e.g., such as that requested for an external process to audit the device). | AU-7 AUDIT RECORD REDUCTION AND REPORT GENERATION
|  |  | Ability to send requested audit logs to an external audit process or information system (e.g., where its auditing information can be checked to allow for review, analysis, and reporting.) | AU-6 AUDIT RECORD REVIEW, ANALYSIS, AND REPORTING
|  |  | Ability to support an alternate auditing process in the event that the primary auditing process fails. | AU-5 RESPONSE TO AUDIT LOGGING PROCESS FAILURES (5)
|  |  | Ability to protect the audit information through the use of: – Encryption – Digitally signing audit files – Securely sending audit files to another device – Other protections created by the device manufacturer | AU-9 PROTECTION OF AUDIT INFORMATION
Device Security | Secure Execution | Ability to enforce organizationally-defined execution policies | Ability to execute code in confined virtual environments | SC-39 PROCESS ISOLATION
|  |  | Ability to separate IoT device processes into separate execution domains | SC-39 PROCESS ISOLATION
|  |  | Ability to separate the levels of IoT device user functionality | SC-2 SEPARATION OF SYSTEM AND USER FUNCTIONALITY
|  |  | Ability to authorize various levels of IoT device functionality | SC-2 SEPARATION OF SYSTEM AND USER FUNCTIONALITY
| Secure Communication |  | Ability to enforce traffic flow policies | SC-7 BOUNDARY PROTECTION
|  |  | Ability to utilize standardized protocols | SC-7 BOUNDARY PROTECTION (17)
|  |  | Ability to establish network connections | SC-10 NETWORK DISCONNECT
|  |  | Ability to terminate network connections (e.g., automatically based on organizationally-defined parameters) | SC-10 NETWORK DISCONNECT
|  |  | Ability to de-allocate TCP/IP address/port pairings | SC-10 NETWORK DISCONNECT
|  |  | Ability to establish communications channels | SC-11 TRUSTED PATH
|  |  | Ability to secure the communication channels | SC-23 SESSION AUTHENTICITY
|  |  | Ability to interface with DNS/DNSSEC | SC-21 SECURE NAME/ADDRESS RESOLUTION SERVICE (RECURSIVE OR CACHING RESOLVER)
|  |  | Ability to store and process session identifiers | SC-23 SESSION AUTHENTICITY
|  |  | Ability to identify and track sessions with identifiers | SC-23 SESSION AUTHENTICITY
| Secure Resource Usage | Ability to support shared system resources | Ability to release resources back to the system | SC-4 INFORMATION IN SHARED SYSTEM RESOURCES
|  |  | Ability to separate user and process resources use | SC-4 INFORMATION IN SHARED SYSTEM RESOURCES
|  |  | Ability to manage memory address space assigned to processes | SC-39 PROCESS ISOLATION
|  |  | Ability to enforce access to memory space through the kernel | SC-39 PROCESS ISOLATION
|  |  | Ability to prevent a process from accessing memory space of another process | SC-39 PROCESS ISOLATION
|  |  | Ability to enforce configured disk quotas | SC-5 DENIAL OF SERVICE PROTECTION
|  |  | Ability to provide sufficient resources to store and run the operating environment (e.g., operating systems, firmware, applications) | SC-34 NON-MODIFIABLE EXECUTABLE PROGRAMS
|  |  | Ability to utilize file compression technologies (e.g., to provide denial of service protection) | SC-5 DENIAL OF SERVICE PROTECTION
| Device Integrity |  | Ability to perform security compliance checks on system components | CA-9 INTERNAL SYSTEM CONNECTIONS (1)
|  |  | Ability to detect unauthorized hardware and software components | CM-8 SYSTEM COMPONENT INVENTORY (3)
|  |  | Ability to take organizationally-defined actions when unauthorized hardware and software components are detected (e.g., disallow a flash drive to be connected even if a USB port is present). | CM-8 SYSTEM COMPONENT INVENTORY (3)
|  |  | Ability to store the operating environment (e.g., firmware image, software, applications) in read-only media (e.g., Read Only Memory). | SC-34 NON-MODIFIABLE EXECUTABLE PROGRAMS
| Secure Device Operation |  | Ability to keep an accurate internal system time | SC-45 SYSTEM TIME SYNCHRONIZATION
|  |  | Ability to define various operational states | CP-10 SYSTEM RECOVERY AND RECONSTITUTION SC-24 FAIL IN KNOWN STATE
|  |  | Ability to support various modes of IoT device operation with more restrictive operational states. – “travel mode” for transit. – “safe mode” for operation when some or all network security is unavailable. – Others as determined necessary based on the purpose and goals for the IoT device | CM-2 BASELINE CONFIGURATION (7)
|  |  | Ability to define differing failure types | SC-24 FAIL IN KNOWN STATE
|  |  | Ability to fail in a secure state | SC-24 FAIL IN KNOWN STATE
|  |  | Ability to disable operations and/or functionality in the event of security violations | IR-4 INCIDENT HANDLING (5)
|  |  | Ability to restrict components/features of the IoT device (e.g., ports, functions, protocols, services, etc.) in accordance with organizationally-defined policies | CM-7 LEAST FUNCTIONALITY
|  |  | Ability to sense the environment and securely (i.e., preserving confidentiality, integrity, and availability of the device and its data) interface with the environment, either directly or through the IoT system. Examples include: – Emergency shutoff mechanism -- Emergency lighting mechanism – Fire protection mechanism – Temperature and humidity mechanism – Water damage protection mechanism – Manufacturer defined capability | PE-10 EMERGENCY SHUTOFF PE-12 EMERGENCY LIGHTING PE-13 FIRE PROTECTION PE-14 ENVIRONMENTAL CONTROLS PE-15 WATER DAMAGE PROTECTION

## Non-Technical Capabilities
NON-TECHNICAL Capability | Sub-Capabilities | Element/Action | Sub-Element/Sub-Action (if applicable) | Related DRAFT Potential NIST SP 800-53 Rev 5 Control "Family" or "Families"
Device Configuration | Policies and procedures establish the minimum requirements for IoT device configuration settings. Policies and procedures detail the necessary management and operational controls to support configuration of the IoT device’s software, to ensure the configuration can be securely changed, and to ensure such changes can be performed only by authorized entities. Actions that may be necessary: | Manufacturer:
|  | Provide documentation detailing the minimum configuration settings available within the IoT device, and how to change those settings, to meet their customers' needs and requirements. |  | Primary: CM - Configuration Management Family Related: AC - Access Control Family
|  | Provide a process by which customers can contact the manufacturer to ask questions or obtain help related to the minimum requirements for the IoT device configuration settings. |  | Primary: PM - Program Management Family Related: N/A
Agency:
|  | Establish the requirements for configuration settings to meet policies and procedures governing the associated IoT devices based upon their roles and functions within the associated systems. |  | Primary: SA - System and Services Acquisition Family Related: AC - Access Control Family
|  | Assign roles and responsibilities for ensuring IoT devices are configured with the appropriate configuration settings before implementation within the system. For example, ensuring default passwords are changed before implementing the device into production. |  | Primary: CM - Configuration Management Family Related: SA - System and Services Acquisition Family AC - Access Control Family PL-4 Rules of Behavior
| Training is provided to workers covering the IoT device configuration requirements. Policies and procedures establish the training necessary for individuals responsible for implementing the policies and procedures for the minimum required IoT device configuration settings. Actions that may be necessary: | Manufacturer:
|  | Provide documentation to the IoT device customers explaining how to configure the devices, and related actions to take with the devices. |  | Primary: CM-1 - Policy and Procedures Supporting: AT-1 - Policy and Procedures AT-2 - Awareness Training
|  | Provide training (e.g., in person, online webinar, video, etc.) to the IoT device customers to teach them how to configure the devices, and perform related actions. |  | Primary: CM-1 - Policy and Procedures Supporting: AT-1 - Policy and Procedures AT-2 - Awareness Training
Agency:
|  | Establish policies and procedures for providing training to the roles responsible for configuring IoT devices. |  | Primary: CM-1 - Policy and Procedures Supporting: AT-1 - Policy and Procedures AT-2 - Awareness Training
|  | Ensure the personnel responsible for configuring the IoT devices are provided with training covering how to appropriately configure the devices. |  | Primary: CM-1 - Policy and Procedures Supporting: AT-1 - Policy and Procedures AT-2 - Awareness Training
Cybersecurity Event Awareness The management and operational controls to support reporting the IoT device cybersecurity state and associated security events within the system where the IoT device is used. | Policies and procedures govern malicious code protection. Policies and procedures provide the details necessary to implement management and operational controls for malicious code protection in the IoT device and associated systems, as well as within related systems entry and exit points, to detect and eradicate malicious code. Actions that may be necessary: | Manufacturer:
|  | Provide information to the IoT device clients/customers that describe the vulnerabilities to malware for the associated IoT devices, and advice for the best types of anti-malware to use. If no anti-malware is needed for the IoT device, explain why. |  | Primary: SI-3 Malicious Code Protection Supporting: CM-11 User-installed Software
|  | Provide information about the IoT device resource restraints related to malicious code protection and possible compensating controls that IoT device customers can use for such restraints. |  | Primary: SA-5 System Documentation
Agency:
|  | Implement policies and procedures requiring IoT devices, and associated systems, to have malicious code protection mechanisms integrated into IoT devices and related systems entry and exit points that can detect and eradicate malicious code. |  | Primary: SI-3 Malicious Code Protection
|  | Follow procedures to use IoT device anti--malware tools based upon the types of malware possible to be loaded onto each associated IoT device. |  | Primary: SI-3 Malicious Code Protection
|  | Establish, or assign to existing, roles within the organization responsibilities for ensuring anti-malware is implemented appropriately within IoT devices used within the organizational systems. |  | Primary: SI-3 Malicious Code Protection
| Policies and procedures govern malicious code protection updates. Policies and procedures provide the details necessary to implement management and operational controls for how to update IoT device and related systems malicious code protection mechanisms when new releases are available, in accordance with organizational configuration management policy and procedures. Actions that may be necessary: | Manufacturer:
|  | Provide information to the IoT device clients/customers that describe newly identified vulnerabilities for malware for the associated IoT devices. |  | Primary: MA-1 Policy and Procedures Supporting: MA-2 Controlled Maintenance
Agency:
|  | Implement policies and procedures to govern how to update IoT device and related systems malicious code protection mechanisms whenever new releases are available, in accordance with organizational configuration management policy and procedures. |  | Primary: MA-1 Policy and Procedures Supporting: MA-2 Controlled Maintenance
|  | Require the appropriate roles to subscribe to available notifications for anti-malware updates from the manufacturer or the software provider, as appropriate. |  | Primary: MA-1 Policy and Procedures Supporting: MA-2 Controlled Maintenance
| Policies and procedures govern malicious code protection configurations. Policies and procedures provide the details necessary to implement management and operational controls for how to configure malicious code protection mechanisms in IoT devices and related systems. Actions that may be necessary: | Manufacturer:
|  | If the IoT device manufacturer provides anti-malware for the associated IoT device, or if the IoT device has built-in anti-malware capabilities, the manufacturer should provide documentation to the IoT device customers describing: | How to schedule automatic scanning on the IOT device. | Primary: SI-3 Malicious Code Protection
|  |  | How to perform real-time scanning for new files introduced through the IoT device interfaces. | Primary: SI-3 Malicious Code Protection
|  |  | How to block and/or quarantine malicious code to allow for inspection of that code by customer organizational roles with those responsibilities. | Primary: SI-3 Malicious Code Protection
|  |  | How to configure the IoT device to shut-down upon detecting malicious code, as appropriate to the purpose of the IoT device. | Primary: SI-3 Malicious Code Protection
|  | Provide information to IoT device customers describing the operational impacts of the anti-malware activities on mission critical processes in the system where the IoT device is used. | Provide additional information on recommended responses to malware beyond just shutting down the IoT device. | CM-4 Impact Analyses
|  |  | Provide options for responding to malicious code identification within the IoT device. Some examples: shutting down, redirecting the network traffic, sending alerts, logging the events, etc. | CM-4 Impact Analyses
Agency:
|  | Implement policies and procedures to govern how to configure malicious code protection mechanisms in IoT devices and related systems to: | Perform periodic scans of the IoT devices and associated systems on an ongoing basis. | Primary: CM-1 Policy and Procedures
|  |  | Perform real-time scans of files from external sources at IoT device interfaces, and associated systems entry/exit points, as the files are downloaded, opened, or executed in accordance with organizational security policies. | Primary: CM-1 Policy and Procedures
|  |  | Block and/or quarantine malicious code and send an alert to the organization administrator, as well as shutting down the IoT device if appropriate, in response to malicious code detection. | Primary: CM-1 Policy and Procedures
| Policies and procedures for malicious code detection and eradication. Policies and procedures provide the details necessary to implement management and operational controls for malicious code detection and eradication. Actions that may be necessary: | Manufacturer:
|  | If the IoT device manufacturer provides anti-malware tools for the associated IoT device, or if the IoT device has built-in anti-malware capabilities, the manufacturer should: | Document how the IoT device user should address false positives and report the false positives to the manufacturer. | Primary: SI-3 Malicious Code Protection
|  |  | Document the possible availability and functioning impacts on the associated IoT device and the system within which it is implemented. | Primary: SI-3 Malicious Code Protection
Agency:
|  | Implement policies and procedures to perform periodic scans of the IoT devices and related systems, and real-time scans of files from external sources as the files are downloaded, opened, or executed in accordance with the organizational security policy. |  | Primary: SI-3 Malicious Code Protection
|  | Implement policies and procedures to block malicious code; quarantine malicious code; and send alerts to admin roles. |  | Primary: SI-3 Malicious Code Protection
|  | Implement policies and procedures governing how to identify and respond to malware false positives for IoT devices, and how to identify and resolve any potential impacts to the associated IoT device and associated systems. |  | Primary: SI-3 Malicious Code Protection
|  | Implement policies and procedures establishing how to address the receipt of false positives during IoT device and associated systems malicious code detection and eradication, and the resulting potential impact on the availability of the IoT device and associated systems. |  | Primary: SI-3 Malicious Code Protection
| Policies and procedures for information system monitoring. Policies and procedures provide the details necessary to implement management and operational controls for how to monitor IoT devices and associated systems. Actions that may be necessary: | Manufacturer:
|  | Provide documentation to IoT device customers: | Describing all the ways in which the IoT device can be monitored, and the recommended associated tools to perform monitoring. | Primary: CA-7 Continuous Monitoring
|  |  | Describing the indicators of attacks on the IoT device. | Primary: CA-7 Continuous Monitoring
|  |  | Describing how to identify local, network and remote IoT device access attempts and connections. | Primary: CA-7 Continuous Monitoring
|  |  | Describing expected behavior of the normal operation of the IoT device. | Primary: CA-7 Continuous Monitoring
|  |  | Describe IoT device behavior indicators that could occur when an attack is being launched. | Primary: CA-7 Continuous Monitoring
Agency:
|  | Establish or assign to existing roles within the organization responsibilities for monitoring access to IoT devices and associated systems, identifying suspicious and malicious access, and for reacting appropriately. |  | Primary: CA-7 Continuous Monitoring
|  | Establish policies and procedures to monitor IoT devices and associated systems to detect | Attacks and indicators of potential attacks in accordance with organizationally-defined monitoring policies and objectives. | Primary: CA-7 Continuous Monitoring
|  |  | Unauthorized local, network, and remote IoT device, and associated systems, connections. | Primary: CA-7 Continuous Monitoring
| Policies and procedures to identify unauthorized use. Policies and procedures provide the details necessary to implement management and operational controls for how to identify unauthorized use of IoT devices and their associated systems, in accordance with the organizationally-defined techniques and methods. Actions that may be necessary: | Manufacturer:
|  | Provide documentation to the IoT device customers that describes indicators of unauthorized use of the IoT device. |  | Primary: SI-4 System Monitoring
Agency:
|  | Establish or assign to existing roles within the organizational responsibilities for identifying unauthorized use of IoT devices and associated systems and for reacting appropriately. |  | Primary: SI-4 System Monitoring
|  | Implement policies and procedures to establish how to identify unauthorized use of IoT devices and their associated systems, in accordance with the organizationally-defined techniques and methods. |  | Primary: SI-4 System Monitoring
| Policies and procedures for monitoring devices and tools. Policies and procedures provide the details necessary to implement management and operational controls for how to deploy monitoring devices and tools for IoT devices and associated systems. Actions that may be necessary: | Manufacturer:
|  | Provide documentation to the IoT device customers describing how to best implement and secure the IoT device and associated systems monitoring. |  | Primary: CA-7 Continuous Monitoring
Agency:
|  | Establish or assign to existing organizational roles responsibilities for monitoring use of IoT devices within the organization. |  | Primary: CA-7 Continuous Monitoring
|  | Implement policies and procedures to govern how to deploy monitoring of IoT devices and associated systems to collect organizationally-defined essential information: | Strategically within IoT devices. | Primary: CA-7 Continuous Monitoring
|  |  | In information systems where IoT devices are used. | Primary: CA-7 Continuous Monitoring
|  | Implement policies and procedures to govern how to deploy monitoring of IoT devices and associated systems in ad hoc locations to track specific types of transactions of interest to the organization. |  | Primary: CA-7 Continuous Monitoring
| Policies and procedures for protecting cybersecurity event information from unauthorized access, modification, and deletion. Policies and procedures provide the details necessary to implement management and operational controls for protecting information obtained from IoT devices, and associated systems and intrusion-monitoring tools, from unauthorized access, modification, and deletion. Actions that may be necessary: | Manufacturer:
|  | Provide documentation to IoT device customers describing the types of usage and environmental systems data that can be collected from the IoT device. |  | Primary: AU-9 Protection of Audit Information
Agency:
|  | Establish or assign to existing organizational roles responsibilities for collecting, securing and analyzing organizationally-defined data of interest from IoT devices and associated systems. |  | Primary: AU-6 Audit Record Review, Analysis, and Reporting
|  | Develop policies and procedures to establish the requirements for protecting information from unauthorized access, modification, and deletion that was obtained from IoT devices and associated systems using intrusion-monitoring tools. |  | Primary: AU-9 Protection of Audit Information
| Policies and procedures for security level changes. Policies and procedures provide the details necessary to implement management and operational controls to govern when to heighten the level of security for an IoT device and associated systems. Actions that may be necessary: | Manufacturer:
|  | Provide documentation to IoT device customers describing the security controls and monitoring capabilities built within the IoT device, and how to configure the device to best fit the risk levels within the systems where they are used. |  | Primary: SA-8 Security and Privacy Engineering Principles Supporting: CM-6 Configuration Settings
Agency:
|  | Establish policies and procedures to govern when to increase the level of security for an IoT device and associated systems, including for monitoring activity, whenever there is an indication of increased risk to organizational operations and assets, individuals, other organizations, or the Nation based on law enforcement information, intelligence information, or other credible sources of information. |  | Primary: SA-8 Security and Privacy Engineering Principles Supporting: CM-6 Configuration Settings
| Policies and procedures for ensuring legal compliance. Policies and procedures provide the details necessary to implement management and operational controls for establishing whether the IoT device, and associated systems, monitoring activities are in compliance with applicable Federal laws, Executive Orders, directives, policies, and regulations. Actions that may be necessary: | Manufacturer:
|  | Provide the legal (Federal regulations, state and local laws) requirements for security and privacy controls that the IoT device supports. Some examples: Federal Information Security Modernization Act (FISMA), Health Insurance Portability and Accountability Act (HIPAA), California Consumer Privacy Act (CCPA), EU General Data Protection Regulation(GDPR). |  | Primary: SI-1 Policy and Procedures
Agency:
|  | Establish policies and procedures for determining if the monitoring activities for IoT devices and associated systems are in compliance with applicable Federal laws, Executive Orders, directives, policies, and regulations. |  | Primary: SI-1 Policy and Procedures
| Policies and procedures for providing monitoring information to authorized personnel or roles. Policies and procedures provide the details necessary to implement management and operational controls for how to provide organizationally-defined IoT device and associated systems monitoring information to authorized personnel or roles as needed and according to organizationally-defined frequencies. Actions that may be necessary: | Manufacturer:
|  | Provide IoT device customers documentation describing the types of monitoring tools with which the IoT device is compatible, and recommendations for how to configure the IoT device to best work with such monitoring tools. |  | Primary: SI-4 System Monitoring
Agency:
|  | Establish policies and procedures to govern how to provide organizationally-defined IoT device and associated systems monitoring information to authorized personnel or roles as needed and according to organizationally-defined frequencies. |  | Primary: SI-4 System Monitoring
| Policies and procedures for receiving external security alerts, advisories, and directives. Policies and procedures provide the details necessary to implement management and operational controls for how and when to receive up-to-date security and privacy information on an ongoing basis about IoT devices and associated systems, such as information system security alerts, advisories, and directives from IoT device manufacturers, information security researchers, and other sources the organization determines to be valuable. Actions that may be necessary: | Manufacturer:
|  | Provide documentation to the IoT device customers about related security and privacy updates, such as IoT device information system security and privacy alerts, advisories, directives, security and/or privacy research, and other information that would be valuable for IoT device customers to help ensure security and privacy of the IoT device. |  | Primary: SI-5 Security Alerts, Advisories, and Directives
Agency:
|  | Establish policies and procedures to govern how and when to receive up-to-date security and privacy information on an ongoing basis about IoT devices and associated systems, such as information system security alerts, advisories, and directives from IoT device vendors, information security researches, and other sources the organization determines to be valuable. |  | Primary: SI-5 Security Alerts, Advisories, and Directives
| Policies and procedures for receiving internal security alerts, advisories, and directives. Policies and procedures provide the details necessary to implement management and operational controls for when and how to generate internal security alerts, advisories, and directives about the IoT devices. Actions that may be necessary: | Manufacturer:
|  | Provide necessary information to customers to inform the review and update of the IoT device systems and services practices. |  | Primary: SI-5 Security Alerts, Advisories, and Directives
Agency:
|  | Establish policies and procedures to govern when and how to generate internal security alerts, advisories, and directives about the IoT devices, and associated systems, used within the organization as deemed necessary. |  | Primary: SI-5 Security Alerts, Advisories, and Directives
| Policies and procedures for disseminating privacy and security alerts, advisories, and directives outside of the organization. Policies and procedures provide the details necessary to implement management and operational controls to disseminate privacy and security alerts, advisories, and directives about the IoT devices, and associated systems outside of the organization. Actions that may be necessary: | Manufacturer:
|  | Provide necessary information to IoT device customers to inform the review and update of the IoT device systems and services practices. |  | Primary: SI-5 (1) Security Alerts, Advisories, and Directives: SECURITY ALERTS, ADVISORIES, AND DIRECTIVES
Agency:
|  | Establish policies and procedures to disseminate privacy and security alerts, advisories, and directives about the organizational IoT devices, and associated systems to appropriate organizationally-defined personnel and roles, and to organizationally-defined external organizations. |  | Primary: SI-5 (1) Security Alerts, Advisories, and Directives: SECURITY ALERTS, ADVISORIES, AND DIRECTIVES
| Policies and procedures for implementing security control directives. Policies and procedures provide the details necessary to implement management and operational controls to govern the implementation of IoT device and associated systems security directives in accordance with established time frames, and/or to notify the IoT device manufacturer and/or vendor of the degree of noncompliance. Actions that may be necessary: | Manufacturer:
|  | Provide directions and procedures to IoT device customers for how to submit questions and requests for information about their IoT device related to security and privacy compliance requirements. Some examples: Federal Information Security Modernization Act (FISMA), Health Insurance Portability and Accountability Act (HIPAA), California Consumer Privacy Act (CCPA), EU General Data Protection Regulation(GDPR). |  | Primary: AC-1 Policy and Procedures
|  | Include a timeframe within which such IoT device compliance questions and requests will be answered. |  | Primary: AC-1 Policy and Procedures
Agency:
|  | Establish policies and procedures to govern the implementation of IoT devices and associated systems security directives in accordance with established compliance requirements, including time frames, and/or notices to the IoT device manufacturers and/or vendors of the degree of noncompliance. |  | Primary: AC-1 Policy and Procedures
Device Identity The management and operational controls to support device identity capabilities to configure and use the IoT device according to the requirements established by the organization. | Policies and procedures requiring unique identification for each IoT device. Policies and procedures provide the details necessary to implement management and operational controls for required unique identification for each IoT device associated with the system and critical system components within which it is used. Actions that may be necessary: | Manufacturer:
|  | Provides capabilities within the IoT device to allow for unique identification of each IoT device. |  | Primary: IA-4 Identifier Management
|  | Provides instructions for implementing and using the unique IoT identifiers. |  | Primary: IA-4 Identifier Management
|  | Provides training videos showing how to implement unique identifiers for the IoT device. |  | Primary: IA-4 Identifier Management
Agency:
|  | Organizational IoT device policies and procedures establish the unique identification required for each IoT device associated with the system and critical system components within which it is used. |  | Primary: IA-4 Identifier Management
Logical Access to Interfaces The management and operational controls to support secure IoT device interface capabilities according to the requirements established by the organization. | Policies and procedures for access control capabilities. Policies and procedures provide the details necessary to implement management and operational controls to support the organizational access control requirements on IoT devices. Actions that may be necessary: | Manufacturer:
|  | Provide information to the IoT device customer describing the needs the manufacturer will have to access the IoT device interfaces for support, updates, ongoing maintenance, etc. |  | Primary: AC-1 Policy and Procedures
|  | Provide documentation to the IoT device customer describing any requirements for the manufacturer to collect data from the IoT device. |  | Primary: AC-1 Policy and Procedures
|  | Provide documentation with instructions for the IoT device customer to follow describing how to restrict interface connections that enable specific activities. |  | Primary: AC-1 Policy and Procedures
|  | Prior to purchase and/or implementation provide descriptions of the types of access to the IoT device the manufacturer will require on an ongoing or regular basis. | Some examples: medical devices, smart refrigerators, HVAC devices, IoT device maintenance data, etc. | Primary: PS-6 Access Agreements
Agency:
|  | Establish policies and procedures to govern the implementation of the organizational access control requirements on IoT devices. |  | Primary: AC-1 Policy and Procedures
|  | Establish policies and procedures for: | Using discovery tools to identify IoT devices implemented within the system. | Primary: CM-8 SYSTEM COMPONENT INVENTORY (3) SYSTEM COMPONENT INVENTORY ¦ AUTOMATED UNAUTHORIZED COMPONENT DETECTION Supporting: SC-7 BOUNDARY PROTECTION
|  |  | Governing how IoT devices are reported to the agency before integration within the system is allowed. | Primary: CM-8 SYSTEM COMPONENT INVENTORY (9) SYSTEM COMPONENT INVENTORY ¦ ASSIGNMENT OF COMPONENTS TO SYSTEMS
|  |  | Steps to follow for how the agency looks for stray and unauthorized devices that have been implemented within the network. | Primary: CM-8 SYSTEM COMPONENT INVENTORY (3) SYSTEM COMPONENT INVENTORY ¦ AUTOMATED UNAUTHORIZED COMPONENT DETECTION Supporting: SC-7 BOUNDARY PROTECTION
|  | Establish the organizationally-defined roles responsible for implementing authorized IoT devices within the system. |  | Primary: CM-1 Policy and Procedures
|  | Provide training for how to securely establish IoT device interfaces and connections to the manufacturer for any requirements from the manufacturer requiring such connections. |  | Primary: AT-3 Role-Based Training
|  | Establish right-to-audit clauses within IoT device manufacturer contracts where periodic or ongoing access to IoT devices is required. |  | Primary: SR-8 Notification Agreements
| Policies and procedures for situations where identification and authentication are not needed. Policies and procedures provide the details necessary to implement management and operational controls to support the organizational requirements for determining circumstances when identification and authentication are not needed to be used with IoT devices for specified organizationally-defined user actions. Actions that may be necessary: | Manufacturer:
|  | Provide IoT device customers with a description of the privacy protection capabilities built within the IoT device that do not require authentication, such as encryption, authentication, access control, data deletion, etc. |  | Primary: PM-20 Dissemination of Privacy Program Information
|  | Provide IoT device customers with a description for how to access the IoT device through the interface without authentication, as applicable to the purpose of the device. For example, when visitors need to be able to access certain IoT devices without needing to authenticate, such as when asking the IoT device for the location of a doctor's office within a health clinic. |  | Primary: PT-6 Privacy Notice
Agency:
|  | Establish policies and procedures describing: | The organizationally-defined roles that can use the IoT device without identification and authentication. | Primary: PM-1 Information Security Program Plan
|  |  | Situations where the IoT device can be used by anyone, and roles do not need to be defined. -Example: A National Park IoT device where visitors are able to ask questions, and then the IoT device provides answers. The identities of persons asking questions are not collected (a privacy control), but the questions asked may be logged/recorded to determine topic interests. | Primary: AC-14 Permitted Actions Without Identification or Authentication
|  | Establish policies and procedures describing situations for when certain features can be used for the IoT device without authorization by an organizationally-defined role or individual. | Example: using a smart coffee maker in an agency's break room. | Primary: CA-6 Authorization
|  |  | Include within the policies and/or procedures a description of the compensating controls necessary in such situations, such as the need to be physically present for the use of the IoT device, the requirement to lock the door to the room where the device is located after normal business hours, etc. | Primary: PL-11 Baseline Tailoring
| Policies and procedures for managing role-based access controls. Policies and procedures provide the details necessary to implement management and operational controls in situations where access controls are not necessary on an individual basis, but are based on the role of the IoT device user. Some examples: Anyone within the office can use the smart coffee maker as part of a "general use" type of role, but only those within the "admin" type of role can modify the smart coffee maker settings. A device can be configured to allow anyone with access to the device to view information in a public space, e.g., a public kiosk. However, the device has an "admin" type of role that allows only those within that role to make changes to the device. Actions that may be necessary: | Manufacturer:
|  | Provide to the IoT device customer a description of the role-based access capabilities built within the IoT device, such as admin, general user, etc. |  | Primary: AT-3 Role-based Training
|  | Provide to the IoT device customer instructions for how to establish and change role-based access settings. |  | Primary: AT-3 Role-based Training
|  | Provide to the IoT device customer a description of the role-based access capabilities of the IoT device. If this capability is not available through the IoT device, document this limitation. |  | Primary: AT-3 Role-based Training
Agency:
|  | Establish policies and procedures describing: | The roles that can use IoT devices without using authorization. | Primary: AC-2 Account Management (7) ACCOUNT MANAGEMENT ¦ PRIVILEGED USER ACCOUNTS
|  |  | Situations where IoT devices can be used by anyone, and roles do not need to be defined. For example: A National Park IoT device where visitors are able to ask questions, and then the IoT device provides answers. The identity of the person asking is not collected (a privacy control), but perhaps the question itself is logged/recorded to determine topic interests. | Primary: AC-2 Account Management (7) ACCOUNT MANAGEMENT ¦ PRIVILEGED USER ACCOUNTS
|  | Establish policies and procedures describing situations when specified features can be used for the IoT device without authorization by a role or individual. | For example, turning on a smart coffee maker in an agency's break room. | Primary: AC-2 Account Management (7) ACCOUNT MANAGEMENT ¦ PRIVILEGED USER ACCOUNTS
|  |  | Include within the policies and/or procedures a description of the compensating controls necessary in such situations, such as the need to be physically present for the use of the IoT device. For example, requiring a user to be physically at the coffee maker to turn the coffee maker on. | Primary: AC-2 Account Management (7) ACCOUNT MANAGEMENT ¦ PRIVILEGED USER ACCOUNTS
| Policies and procedures for including security and privacy requirements in third party contractual agreements. Policies and procedures provide the details necessary to implement management and operational controls for including security and privacy requirements within third party contractual agreements that involve access to, and/or use of, the IoT device by third parties. Actions that may be necessary: | Manufacturer:
|  | Include within the IoT device customer contracts a description and listing of the third parties used by the manufacturers that will have access to the IoT device and/or the data collected, generated, accessed, processed, or shared through the device, and a description of the associated security and privacy controls established for such third parties. |  | Primary: PT-6 Privacy Notice
|  | Provide the IoT device customers with documentation detailing all the cloud services used to support the use of the IoT device. |  | Primary: PT-6 Privacy Notice
|  | Describe to the IoT device customers all logical interfaces to the IoT device and document the interfaces used by the manufacturer's third parties, and the purposes for such uses. |  | Primary: PT-6 Privacy Notice
|  | Communicate to the IoT device customers | A list of the third parties to whom the manufacturer provides the IoT device data and/or customer information, and | Primary: PT-6 Privacy Notice
|  |  | The types of data provided to the third parties directly by the device (e.g., device usage, entities using the device, device location, personal data, etc.). | Primary: PT-6 Privacy Notice
|  | Describe to the IoT device customers other types of devices, systems, etc., that will be accessing the manufacturer's IoT device during customer use of the device, and how they will be accessing it. Some examples: Using static IP addresses, using device identifiers, etc. |  | Primary: PT-6 Privacy Notice
|  | Provide to the IoT device customers documentation, in contracts, disclosures and/or similar types of documents, for the actions the manufacturer will take for requested modification of interface capabilities, and describe how device customers should make such requests. |  | Primary: PT-6 Privacy Notice
|  | Describe to the IoT device customers how the IoT device customers will be notified of changes in the manufacturer's contractors and third parties that have access to the IoT devices, when the origination or locations (e.g., city, state, country) of the contractors or third parties change, and other related types of contractor and third-party changes. |  | Primary: PT-6 Privacy Notice
|  | Describe to the IoT device customers the methods by which the manufacturer prevents unauthorized access to the customer's IoT device by third parties not listed on the provided documentation. |  | Primary: PT-6 Privacy Notice
|  | Describe to the IoT device customers how third parties are, or can be, prohibited from accessing the IoT device and/or restricted in their access to the device. |  | Primary: PT-6 Privacy Notice
|  | Provide to the IoT device customers documentation describing the expected or typical lifespan of the IoT device, and the associated support that will be provided for the device manufacturer during this time. |  | Primary: PT-6 Privacy Notice
|  | Disclose to Federal agencies how the IoT device supports the Federal Risk and Authorization Management Program (FedRAMP) requirements. |  | Primary: PT-6 Privacy Notice
Agency:
|  | Establish policies and procedures governing the security and privacy requirements that must be included in IoT device manufacturer's third-party contractual agreements that involve access to, and/or the use of, the IoT devices by third parties. |  | Primary: SR-3 Supply Chain Controls and Processes
|  | Establish policies and procedures: | Describing the risk evaluation requirements and practices for requested IoT devices, and descriptions for how risk levels will be established for the level of risk the device brings into the system. NOTE: Often the IoT devices will be used within large systems built for the government, so the interface to the IoT device within the system will need to be used based on the risk levels within the system, and for the risk the IoT device presents to the system. | Primary : SR-2 Supply Chain Risk Management Plan
|  |  | Detailing the documentation requirements for third-party disclosure of IoT device use and data from the manufacturer, and the required types of security and privacy reviews of those disclosures and the related manufacturer documentation to collect that describe those disclosures, that must be performed by each agency. | Primary : SR-2 Supply Chain Risk Management Plan
|  |  | Detailing the acceptable and unacceptable types of contractors (based upon related risk factors such as data use, location of the contractors, etc.), and the acceptable and unacceptable types of data sent out from the device. Some examples: personal data, intellectual property, data impacting homeland security, etc. | Primary : SR-2 Supply Chain Risk Management Plan
|  |  | Detailing any requirements for IoT device manufacturers to ensure they are using FedRamp-approved cloud service providers for their back-end cloud service platforms. | Primary : SR-2 Supply Chain Risk Management Plan
|  |  | Details for working with IoT device manufacturers on possible modification of IoT device interface capabilities for the agency considering use of the manufacturer's IoT device. | Primary : SR-2 Supply Chain Risk Management Plan
|  |  | Details for implementing compensating controls for IoT devices used that do not have IoT device manufacturer support for IoT device interface software, firmware or hardware. | Primary : SR-2 Supply Chain Risk Management Plan
|  | Establish policies and procedures to perform a cost/benefit analysis prior to implementing the IoT device. |  | Primary: SA-8 SECURITY AND PRIVACY ENGINEERING PRINCIPLES(25) SECURITY AND PRIVACY ENGINEERING PRINCIPLES ¦ ECONOMIC SECURITY
|  | Establish policies and procedures to verify the existence of disaster recovery policies and procedures within IoT device manufacturers' practices and documentation. Such disaster recovery documentation should include: | Descriptions of existing dependencies on third parties. | Primary: SR-2 Supply Chain Risk Management Plan(1) SUPPLY CHAIN RISK MANAGEMENT PLAN ¦ ESTABLISH SCRM TEAM
|  |  | Restrictions obtaining documentation about third party dependencies. | Primary: SR-2 Supply Chain Risk Management Plan(1) SUPPLY CHAIN RISK MANAGEMENT PLAN ¦ ESTABLISH SCRM TEAM
|  | Listings of acceptable and unacceptable contractors and other types of third parties. |  | Primary: SR-2 Supply Chain Risk Management Plan(1) SUPPLY CHAIN RISK MANAGEMENT PLAN ¦ ESTABLISH SCRM TEAM
| Policies and procedures for device interface controls. Policies and procedures provide the details necessary to implement management and operational controls for the necessary logical and remote access IoT device controls through device interfaces for information transmission between devices and subjects, objects, systems and components within the system. Actions that may be necessary: | Manufacturer:
|  | Provide to IoT device customers documentation describing the IoT device logical and remote interface access controls. |  | Primary: SA-4 ACQUISITION PROCESS (1) ACQUISITION PROCESS ¦ FUNCTIONAL PROPERTIES OF CONTROLS
|  | Describe to IoT device customers how to restrict access to the IoT device interface in terms of both users of the interface and data that can be transmitted through that interface, and on what basis restrictions can be defined. |  | Primary: PT-5 CONSENT (1) CONSENT ¦ TAILORED CONSENT
|  | Disclose to IoT device customers the manufacturer's own policies governing how they share the data obtained from the manufacturer's IoT device. |  | Primary: PT-6 Privacy Notice
Agency:
|  | Establish policies and procedures: | Governing risk evaluation for IoT devices, including how risk levels will be established for the risks the device brings into the system. | Primary: RA-1 Policy and Procedures
|  |  | Establishing the required documentation from IoT device manufacturers for the available logical and remote interface access controls, and the required controls to allow usage of the IoT device within agency systems. | Primary: SA-1 Policy and Procedures
|  |  | Describing the acceptable and unacceptable types of data that can be sent through each IoT device interface, and the controls that need to be implemented to meet the restrictions. | Primary: AC-4 Information Flow Enforcement
|  |  | Governing how to work with manufacturers on possible modifications of interface controls for IoT devices. | Primary: SA-4 ACQUISITION PROCESS (2) ACQUISITION PROCESS ¦ DESIGN AND IMPLEMENTATION INFORMATION FOR CONTROLS
|  |  | Establishing the requirements for role-based access controls for specific types of Iot data. | Primary: AC-3 ACCESS ENFORCEMENT (7) ACCESS ENFORCEMENT ¦ ROLE-BASED ACCESS CONTROL
|  |  | Governing the types of compensating controls that should be use when an IoT device manufacturer will not make changes or provide support for IoT device interfaces to support necessary security controls. | Primary: PL-11 Baseline Tailoring
| Policies and procedures for required authentication techniques. Policies and procedures establish the capabilities necessary to support required IoT control techniques, such as PIV authentication. Actions that may be necessary: | Manufacturer:
|  | Discloses to IoT device customers details about the IoT device interface controls, and descriptions for if and how a second factor for authentication can be implemented. |  | Primary: IA-2 Identification and Authentication
Agency:
|  | Policies and procedures require strong IoT device authenticators, which are documented and maintained. |  | Primary: IA-1 Policy and Procedures
|  | IoT device requirements will include the following, as applicable to each situation: | Organizationally-defined roles that require a second factor for authentication, and defining situations when a second factor must be a PIV or a PIV-derived credential. | Primary: IA-2 IDENTIFICATION AND AUTHENTICATION (ORGANIZATIONAL USERS) (1) IDENTIFICATION AND AUTHENTICATION (ORGANIZATIONAL USERS) ¦ MULTIFACTOR AUTHENTICATION 5780 TO PRIVILEGED ACCOUNTS
|  |  | Descriptions of the available logical and remote interface access controls for second factor authentication from IoT device manufacturers that must be reviewed by specified organizationally-defined agency roles. | Primary: IA-2 Identification and Authentication
|  |  | Descriptions of the compensating controls to use if PIV card readers or use of a PIV-derived credential is not possible. | Primary: PL-11 Baseline Tailoring
| Policies and procedures for implementing only products in the NIST-approved products list. Policies and procedures provide the details necessary to implement management and operational controls to allow the use of only IoT devices within the organizational system that are on the Federal Information Processing Standards (FIPS) 201 approved products list for Personal Identity Verification (PIV) capability, as applicable to the use and purpose for each IoT device, unless allowed by the organizational security policy or appropriate management approval. Actions that may be necessary: | Manufacturer:
|  | Provides documentation describing how the IoT device can technically support PIV card implementation, accessibility and interfaces. |  | Primary: IA-2 IDENTIFICATION AND AUTHENTICATION (ORGANIZATIONAL USERS) (1) IDENTIFICATION AND AUTHENTICATION (ORGANIZATIONAL USERS) ¦ MULTIFACTOR AUTHENTICATION 5780 TO PRIVILEGED ACCOUNTS
|  | If the IoT device cannot support PIV cards, they provide information with suggested ways in which customers can implement compensating controls around the IoT device. |  | Primary: IA-2 IDENTIFICATION AND AUTHENTICATION (ORGANIZATIONAL USERS) (1) IDENTIFICATION AND AUTHENTICATION (ORGANIZATIONAL USERS) ¦ MULTIFACTOR AUTHENTICATION 5780 TO PRIVILEGED ACCOUNTS
|  | Provides training videos showing how to configure the IoT device to technically support PIV implementation, accessibility and interfaces. |  | Primary: IA-1 Policy and Procedures
|  | Provides instructions for how to integrate the IoT device with a PIV system. Or, provides some type of attestation that their IoT device can be used in compliance with Federal agency requirements, with associated descriptions for how the agency can accomplish this. |  | Primary: IA-1 Policy and Procedures
Agency:
|  | Policies and procedures provide the requirements for how to use IoT devices | That have PIV card support provided by the manufacturer. | Primary: IA-1 Policy and Procedures
|  |  | That do not have PIV card support by the manufacturer. | Primary: IA-1 Policy and Procedures
|  | Training provides the information to roles responsible for implementing IoT devices that need to support PIV capabilities. |  | Primary: AT-3 Role-based Training
|  | Establish processes to communicate with IoT device manufacturer about any problems or to ask any questions about IoT devices and related support of PIV cards. |  | Primary: AT-3 Role-based Training
Device Acquisition and Maintenance The management and operational controls to support IoT device acquisition and maintenance processes. | Policies and procedures for capabilities necessary for IoT device acquisitions. Policies and procedures provide the details necessary to implement management and operational controls for the acquisition of IoT devices, systems and services by assigned organizationally-defined personnel or roles who will ensure required device capabilities (compliance and implementation controls, etc.) exist for devices being considered for purchase. Actions that may be necessary: | Manufacturer:
|  | Provide documentation to potential customers that clearly indicate the IoT device security and privacy capabilities and limitations. |  | SA-1 Policy and Procedures
Agency:
|  | Implement policies governing IoT device, systems, and services acquisition. |  | SA-1 Policy and Procedures
|  | Acquisition policies should include descriptions of required device capabilities, and address the limitations that should be considered in acquisition decisions. |  | Primary: SA-1 Policy and Procedures
| Policies and procedures for review and update of IoT device, systems and services acquisition practices. Policies and procedures provide the details necessary to implement management and operational controls for the review and update of organizational IoT device, systems and services acquisition practices. Actions that may be necessary: | Manufacturer:
|  | Provide necessary information to inform the review and update of the IoT device systems, and services acquisition practices by agencies. |  | Primary: SA-4 ACQUISITION PROCESS (2) ACQUISITION PROCESS ¦ DESIGN AND IMPLEMENTATION INFORMATION FOR CONTROLS
Agency:
|  | Implement policies and procedures to govern the review and update of organizationally-defined IoT device, systems, and services acquisition practices. |  | Primary: SA-4 ACQUISITION PROCESS (2) ACQUISITION PROCESS ¦ DESIGN AND IMPLEMENTATION INFORMATION FOR CONTROLS
| Policies and procedures for determining IoT device security requirements as part of the organizational mission/business process planning. Policies and procedures provide the details necessary to implement management and operational controls for how management roles determine the information security requirements for the IoT device(s) as part of the organizational mission/business process planning. Followed by determining, documenting, and allocating the resources necessary to protect the associated information system to support the organization's capital planning and investment control (CPIC) process. Actions that may be necessary: | Manufacturer:
|  | Provide potential customers with clear documentation detailing the IoT device capabilities and limitations. |  | SA-8 SECURITY AND PRIVACY ENGINEERING PRINCIPLES (32) SECURITY AND PRIVACY ENGINEERING PRINCIPLES ¦ SUFFICIENT DOCUMENTATION
|  | Provide instructions and/or information describing the recommended means for protecting the IoT device hardware, software and data. |  | SA-8 SECURITY AND PRIVACY ENGINEERING PRINCIPLES (32) SECURITY AND PRIVACY ENGINEERING PRINCIPLES ¦ SUFFICIENT DOCUMENTATION
Agency:
|  | Determine the information security requirements of prospective IoT devices. |  | SA-8 SECURITY AND PRIVACY ENGINEERING PRINCIPLES (32) SECURITY AND PRIVACY ENGINEERING PRINCIPLES ¦ SUFFICIENT DOCUMENTATION
|  | Follow organizational capital planning and investment control (CPIC) processes to allocate sufficient resources to obtain, maintain, and protect the acquired IoT device. |  | Primary: SA-2 Allocation of Resources Supporting: PM-3 INFORMATION SECURITY AND PRIVACY RESOURCES
|  | Update applicable existing policies and procedures as necessary to describe the requirements. |  | Primary: SA-2 Allocation of Resources Supporting: PM-3 INFORMATION SECURITY AND PRIVACY RESOURCES
| Policies and procedures for establishing a discrete line item for IoT device information security within the organizational programming and budgeting documentation. Policies and procedures provide the details necessary to implement management and operational controls for establishing a discrete line item for IoT device information security within the organizational programming and budgeting documentation. Actions that may be necessary: | Manufacturer:
|  | Provide information to IoT device customers detailing all anticipated costs associated with the IoT device, including the purchase, maintenance, operations, security, and disposal costs throughout the potential lifetime of the use of the IoT device. |  | Primary: SA-2 Allocation of Resources Supporting: PM-3 INFORMATION SECURITY AND PRIVACY RESOURCES
Agency:
|  | Establish expected information security costs for the IoT device. |  | Primary: SA-2 Allocation of Resources Supporting: PM-3 INFORMATION SECURITY AND PRIVACY RESOURCES
|  | Establish separate line items for IoT device information security within the organizational programming and budgeting documentation. |  | Primary: SA-2 Allocation of Resources Supporting: PM-3 INFORMATION SECURITY AND PRIVACY RESOURCES
| Policies and procedures for maintenance. Policies and procedures provide the details necessary to implement management and operational controls for the approval and monitoring of onsite and offsite IoT device maintenance activities. Actions that may be necessary: | Manufacturer:
|  | Clearly indicate to customers before the IoT device purchase the type and nature of the local and/or remote maintenance activities required once the device is purchased and deployed in the organization. |  | Primary: MA-1 Policy and Procedures
|  | Communicate the physical and technical capabilities required for these maintenance activities to occur. |  | Primary: MA-1 Policy and Procedures
Agency:
|  | Implement policies and procedures governing the approval and monitoring of both local and remote IoT device maintenance activities. |  | Primary: MA-1 Policy and Procedures
|  | Communicate these procedures and requirements to the device manufacturer before device purchase. For example, the manufacturer must use unique IDs/passwords for each of their clients, and for each of their workers, etc. |  | Primary: MA-1 Policy and Procedures
|  | Integrate these approval and monitoring procedures with the existing organizational procurement and monitoring activities. |  | Primary: MA-1 Policy and Procedures
| Policies and procedures maintaining records for nonlocal IoT device maintenance and diagnostic activities. Policies and procedures provide the details necessary to implement management and operational controls for maintaining records for nonlocal IoT device maintenance and diagnostic activities. Actions that may be necessary: | Manufacturer:
|  | Before IoT device purchase clearly indicate through direct communications to potential customers the type and nature of the remote maintenance and diagnostic activities required once the device is purchased and deployed in the organization. |  | Primary: MA-4 Nonlocal Maintenance
|  | Communicate to IoT device customers the physical and technical capabilities required for the IoT device maintenance and diagnostic activities. |  | Primary: MA-4 Nonlocal Maintenance
Agency:
|  | Implement policies and procedures for maintaining records of remote IoT device maintenance and diagnostic activities. |  | Primary: MA-4 Nonlocal Maintenance
|  | Incorporate these procedures into existing organizational monitoring and auditing activities. |  | Primary: MA-4 Nonlocal Maintenance
| Policies and procedures for required maintenance personnel documentation. Policies and procedures provide the details necessary to implement management and operational controls for IoT device maintenance personnel authorization, record-keeping of maintenance organizations and personnel. Actions that may be necessary: | Manufacturer:
|  | Before the IoT device purchase provide clear communications to customers describing the type and nature of the local and/or remote maintenance activities that will involve and require manufacturer personnel, or their contractors, once the device is purchased and deployed in the organization. |  | Primary: MA-5 Maintenance Personnel
Agency:
|  | Implement policies and procedures governing IoT device maintenance personnel authorization and record keeping of maintenance. |  | Primary: MA-5 Maintenance Personnel
|  | Communicate personnel authorization requirements, any necessary restrictions of personnel, and maintenance record keeping requirements to the manufacturer, and any contracted organizations they use, who will be performing IoT device maintenance. |  | Primary: MA-5 Maintenance Personnel
| Policies and procedures for IoT device maintenance assigned personnel or roles. Policies and procedures provide the details necessary to implement management and operational controls to govern IoT device maintenance for assigned organizationally-defined personnel or roles to follow. Actions that may be necessary: | Manufacturer:
|  | Before the IoT device purchase clearly indicate through documented statements to customers the type and nature of the local and/or remote maintenance activities required once the device is purchased and deployed in the organization. |  | Primary: MA-5 Maintenance Personnel
|  | Provide documented descriptions of the specific maintenance procedures for defined maintenance tasks. |  | Primary: MA-5 Maintenance Personnel
|  | Provide training materials to IoT device customers to ensure they understand the requirements for specified maintenance procedures. |  | Primary: MA-5 Maintenance Personnel
Agency:
|  | Implement policies governing the activities of organizationally-defined personnel who perform IoT device maintenance. |  | Primary: MA-5 Maintenance Personnel
|  | Distribute maintenance procedures to the organizationally-defined personnel. |  | Primary: MA-5 Maintenance Personnel
|  | Provide training, as needed, to organizationally-defined maintenance personnel. |  | Primary: MA-5 Maintenance Personnel
| Policies and procedures for IoT device systems review and maintenance following trigger events. Policies and procedures provide the details necessary to implement management and operational controls for required IoT device systems review and maintenance according to organizationally-defined frequency and/or established trigger events. Actions that may be necessary: | Manufacturer:
|  | Before the IoT device purchase provide customers with the documentation describing suggested frequency of system review and maintenance activities for IoT devices. |  | Primary: SI-4 System Monitoring
|  | Communicate to IoT device customers the events that will trigger IoT device system review and maintenance. |  | Primary: SI-4 System Monitoring
Agency:
|  | Implement policies for required IoT device systems review and maintenance according to organizationally-defined frequencies. |  | Primary: SI-4 System Monitoring
|  | Implement policies for required IoT device systems review and maintenance according to established trigger events defined by the manufacturer. |  | Primary: SI-4 System Monitoring
| Policies and procedures govern using only approved IoT device diagnostic tools. Policies and procedures provide the details necessary to implement management and operational controls for using only organizationally-approved IoT device diagnostic tools. Actions that may be necessary: | Manufacturer:
|  | Provide IoT customers with documentation describing the tools required for IoT device diagnostics activities. |  | Primary: MA-3 Maintenance Tools
Agency:
|  | Implement policies requiring the use of only organizationally-approved tools for performing IoT device diagnostics. |  | Primary: MA-3 Maintenance Tools
|  | Implement procedures for granting approval for IoT device diagnostic tools. |  | Primary: MA-3 Maintenance Tools
| Policies and procedures for access authorizations to perform IoT device maintenance activities. Policies and procedures provide the details necessary to implement management and operational controls for the designated organizational personnel to have required access authorizations to perform unescorted maintenance activities, and for the required personnel with approved access authorizations to supervise maintenance activities of personnel without such authorizations in areas where IoT devices are in use. Actions that may be necessary: | Manufacturer:
|  | Before the IoT device purchase clearly indicate to customers the type and nature of the local and/or remote maintenance activities required once the device is purchased and deployed in the organization. |  | Primary: MA-1 Policy and Procedures
Agency:
|  | Implement policies governing the access authorizations required to perform both unescorted and escorted IoT device maintenance activities. |  | Primary: MA-1 Policy and Procedures
|  | Develop procedures for personnel to perform both unescorted and escorted IoT device maintenance activities. |  | Primary: MA-1 Policy and Procedures
| Policies and procedures requiring device manufacturers to provide documented specifications for performing IoT device maintenance and repairs. Policies and procedures provide the details necessary to implement management and operational controls requiring IoT device manufacturers to provide documented specifications for performing IoT device maintenance and repairs for organizations to use to schedule and perform maintenance and repairs. Actions that may be necessary: | Manufacturer:
|  | Provide comprehensive documentation of the IoT device maintenance operations. |  | Primary: MA-2 Controlled Maintenance
|  | If such comprehensive IoT device maintenance operations documentation does not exist, clearly communicate to IoT device customers that the user must perform these operations themselves. |  | Primary: MA-2 Controlled Maintenance
Agency:
|  | Examine IoT device documentation to determine and understand the IoT device maintenance operations provided by the manufacturer. |  | Primary: MA-2 Controlled Maintenance
|  | If the necessary documented actions are not provided by the manufacturer, then submit a request to the manufacturer to provide such documentations, or to determine if the agency must create a method to perform these procedures themselves. |  | Primary: MA-2 Controlled Maintenance
| Policies and procedures for documenting attempts to obtain IoT device components or information. Policies and procedures provide the details necessary to implement management and operational controls for documenting attempts to obtain IoT device components, or IoT device information system service documentation when such documentation is either unavailable or nonexistent, and documenting the appropriate response for employees to follow. Actions that may be necessary: | Manufacturer:
|  | Obtain input from IoT device customers about the breadth and depth of the technical documentation provided with the IoT device to determine if it is acceptable to support customer needs. |  | Primary: MA-6 Timely Maintenance
|  | Provide IoT device customers with procedures detailing how to submit questions about IoT device parts, use, and other related issues. |  | Primary: MA-6 Timely Maintenance
|  | Describe how to get components for the IoT device, or how to get the IoT device fixed, when necessary. |  | Primary: MA-6 Timely Maintenance
Agency:
|  | Establish policies and procedures that govern the actions employees must take when appropriate documentation or necessary device components are not available. |  | Primary: MA-6 Timely Maintenance
|  | If employees are permitted to communicate directly with the IoT device manufacturer, provide instructions for how to appropriately do so, and the documentation necessary for such communications. |  | Primary: MA-6 Timely Maintenance
Data Protection The management and operational controls to support securing IoT device data according to organizationally-defined requirements. | Policies and procedures for IoT device data security roles. Policies and procedures provide the details necessary to implement management and operational controls for establishing roles and responsibilities for IoT device data security. Actions that may be necessary: | Manufacturer:
|  | Provide IoT device customers with documentation describing the IoT device capabilities for role-based controls, to establish different roles within the IoT device. |  | Primary: AC-3 ACCESS ENFORCEMENT (7) ACCESS ENFORCEMENT ¦ ROLE-BASED ACCESS CONTROL
Agency:
|  | Use the manufacturer documentation to establish policies and procedures for IoT device data security and privacy organizationally-defined roles and responsibilities. Some examples: Roles to authorize IoT devices, roles to audit IoT devices, etc. |  | Primary: AC-3 ACCESS ENFORCEMENT (7) ACCESS ENFORCEMENT ¦ ROLE-BASED ACCESS CONTROL
|  | Create and provide training to those who will be responsible for using the IoT devices to teach them how to set and change the role-based settings. |  | Primary: AT-3 Role-based Training
| Policies and procedures for IoT device data integrity. Policies and procedures provide the details necessary to implement management and operational controls to support IoT device and associated systems data integrity, including establishing the purpose, scope, roles, responsibilities, management commitment, and coordination of IoT devices among organizational entities, and the associated compliance activities. Actions that may be necessary: | Manufacturer:
|  | Provide information to the IoT device customer for the role or position within the organization that is responsible for determining the security and privacy regulatory requirements with which the IoT device capabilities must comply. |  | Primary: SI-1 Policy and Procedures
Agency:
|  | Implement IoT device and associated systems information integrity policies and procedures that govern establishing the purpose, scope, roles, responsibilities, management commitment, and coordination of IoT devices among organizational entities, and the associated compliance activities. |  | Primary: SI-1 Policy and Procedures
|  | Provide training covering the IoT device purpose, scope, roles, responsibilities, management commitment, and coordination of IoT devices among organizational entities, and the associated compliance activities. |  | Primary: AT-3 Role-based Training
|  | Perform periodic audits to ensure compliance with the policies and procedures. |  | Primary: CA-2 Control Assessments
| Policies and procedures to establish IoT device data integrity controls. Policies and procedures provide the details necessary to implement management and operational controls that support secure implementation of the IoT device and associated systems data integrity controls. Actions that may be necessary: | Manufacturer:
|  | Provide the IoT device customers with documentation describing the data integrity controls built into the IoT device and how to use them. |  | Primary: SI-7 Software, Firmware, And Information Integrity
|  | If there are no data integrity controls built into the IoT device, explain to IoT device customers the ways to achieve IoT device data integrity. |  | Primary: SI-7 Software, Firmware, And Information Integrity
Agency:
|  | Document the data integrity capabilities for each of the associated IoT devices, such as for validating accuracy of input data, and how to ensure data integrity if this action is not part of the device's technical capabilities. |  | Primary: SI-7 Software, Firmware, And Information Integrity
| Policies and procedures for maintaining IoT device data integrity during software modifications. Policies and procedures provide the details necessary to implement management and operational controls for reviewing and updating the current IoT device and associated systems while preserving data integrity. Actions that may be necessary: | Manufacturer:
|  | Provide information to IoT device customers detailing the trigger events that result in updates to their IoT devices. |  | Primary: SR-8 Notification Agreements
|  | Establish a process to consistently provide communications about updates and possible impacts to data integrity (e.g., alerting users if an update will delete data) to their IoT device. |  | Primary: SR-8 Notification Agreements
Agency:
|  | Implement a policy and procedure to review and update the current IoT device and associated systems at a minimum-established organizationally-defined frequency, and following organizationally-defined trigger events while preserving data integrity. |  | MA-3 MAINTENANCE TOOLS (6) MAINTENANCE TOOLS ¦ SOFTWARE UPDATES AND PATCHES
| Policies and procedures for IoT device data handling and retention. Policies and procedures provide the details necessary to implement management and operational controls for securely handling and retaining IoT device data, associated systems data, and data output from the IoT device, in accordance with applicable Federal laws, Executive Orders, directives, policies, regulations, standards, and operational requirements. Actions that may be necessary: | Manufacturer:
|  | Provide documentation to IoT device customers describing how to wipe/delete data from the IoT device. |  | Primary: SI-21 Information Refresh
|  | Provide information to IoT device customers describing how to protect device data from being accidentally modified. |  | Primary: SI-21 Information Refresh
Agency:
|  | Implement policies and procedures establishing the requirements for | Securely handling IoT devices to prevent loss, theft and damage. | Primary: PE-1 Policy and Procedures
|  |  | Physical access security to IoT devices. | Primary: PE-1 Policy and Procedures
|  |  | Allowing for removable storage devices to be inserted into IoT devices. | Primary: PE-1 Policy and Procedures
|  |  | Securely retaining IoT devices, and associated systems, after they are no longer used, along with documentation detailing the associated retention time requirements. | Primary: PE-20 Asset Monitoring and Tracking
|  |  | Securely retaining IoT device data within the associated information systems, and data output from the IoT device, in accordance with applicable Federal laws, Executive Orders, directives, policies, regulations, standards, and operational requirements. | Primary: PE-20 Asset Monitoring and Tracking
|  |  | Appropriately marking or labeling device hardware to support distribution, handling, or dissemination of IoT devices throughout the organization. | Primary: PE-20 Asset Monitoring and Tracking
|  | Implement policies and procedures for secure disposal of IoT device hardware, software and data following expiration of the established retention periods. |  | Primary: MP-6 MEDIA SANITIZATION(1) MEDIA SANITIZATION ¦ REVIEW, APPROVE, TRACK, DOCUMENT, AND VERIFY
|  | Provide training to those responsible for IoT device retention and disposal. |  | Primary: AT-3 Role-based Training
|  | Perform periodic audits for the IoT device retention and disposal policies and procedures. |  | Primary: AU-1 Policy and Procedures
| Policies and procedures establishing IoT data backup. Backup and recovery policies and procedures detail how to make backups of IoT device data and software as applicable. Actions that may be necessary: | Manufacturer:
|  | Provide instructions describing how to backup data on the IoT device. |  | Primary: CP-9 System Backup
|  | Communicate and demonstrate (e.g., directly in person, in videos, in an online webinar) how to backup up the IoT device. |  | Primary: CP-9 System Backup
Agency:
|  | Incorporate the requirements for creating IoT device backups into the existing organizational computing and storage device backup policies. |  | Primary: CP-9 System Backup
|  | Incorporate the procedures for including IoT device backups into the existing set of organizational backup procedures. |  | Primary: CP-9 System Backup
| Policies and procedures for removing all data from IoT devices prior to maintenance and repairs. Policies and procedures provide the details necessary to implement management and operational controls for when and how to remove all data from IoT devices prior to removing the devices from facilities for offsite maintenance or repairs. Actions that may be necessary: | Manufacturer:
|  | Provide information about how to use the IoT device capabilities to remove all data from the device. |  | Primary: SI-12 INFORMATION MANAGEMENT AND RETENTION (3) INFORMATION MANAGEMENT AND RETENTION ¦ INFORMATION DISPOSAL
|  | Provide clear communications about the IoT device these capabilities and procedures to customers. |  | Primary: SI-12 INFORMATION MANAGEMENT AND RETENTION (3) INFORMATION MANAGEMENT AND RETENTION ¦ INFORMATION DISPOSAL
Agency:
|  | Implement policies and procedures governing the timeframes within which data must be removed from IoT devices prior to being removed from organizational facilities. |  | Primary: SI-12 INFORMATION MANAGEMENT AND RETENTION (3) INFORMATION MANAGEMENT AND RETENTION ¦ INFORMATION DISPOSAL
|  | Implement procedures to follow to remove all data from IoT devices |  | Primary: SI-12 INFORMATION MANAGEMENT AND RETENTION (3) INFORMATION MANAGEMENT AND RETENTION ¦ INFORMATION DISPOSAL
Device Security Policies and procedures provide the details necessary to implement management and operational controls for IoT device security. | Policies and procedures provide the details necessary to implement management and operational controls for IoT device security. Policies and procedures govern IoT device security functional requirements, security strength requirements, security assurance requirements, security-related documentation requirements, requirements for protecting security-related documentation, description of the information system development environment and environment in which the IoT device and associated system is intended to operate, and acceptance criteria in the acquisition contracts for every IoT device system, system component, or information system service in accordance with applicable Federal laws, Executive Orders, directives, policies, regulations, standards, guidelines, and organizational mission/business needs. Actions that may be necessary: | Manufacturer:
|  | Provide IoT device customers with information about the IoT device security capabilities, security strength capabilities, and security assurance capabilities. |  | Primary: AC-2 Account Management
Agency:
|  | Implement policies and procedures governing the required security and privacy capabilities for IoT devices and their incorporation into the systems and services acquisition processes. | Policies and procedures providing the details necessary to implement management and operational controls for IoT device functional security requirements, security strength requirements, security assurance requirements. | Primary: AC-2 Account Management
|  |  | Policies and procedures detailing the security-related documentation requirements. | Primary: AC-2 Account Management
|  |  | Policies and procedures detailing the requirements for protecting security-related documentation. | Primary: AC-2 Account Management
|  |  | Policies and procedures detailing the description of the information system development environment and environment in which the IoT device and associated system is intended to operate. | Primary: CM-2 Baseline Configuration
|  |  | Policies and procedures detailing the acceptance criteria in the acquisition contracts for every IoT device system, system component, and information system service in accordance with applicable Federal laws, Executive Orders, directives, policies, regulations, standards, guidelines, and organizational mission/business needs. | Primary: SA-4 Acquisition Process
| Policies and Procedures for IoT device management within a system development life cycle. Policies and procedures provide the details necessary to implement management and operational controls for 1) how the organization manages the IoT information system ecosystem using the organizationally-defined system development life cycle's associated information security considerations, 2) the individuals with assigned IoT device information security roles and responsibilities, and 3) integrating the organizational information security risk management process. Actions that may be necessary: | Manufacturer:
|  | Provide IoT device customers with the means and the documentation for implementing a hierarchy of privilege levels, that have different permissions for each privilege role responsibility within the information system, into the IoT device and/or necessary associated information systems. |  | Primary: AC-6 Least Privilege
Agency:
|  | Implement policies and procedures governing the use of a hierarchy of different roles within the IoT devices and associated information system to help ensure appropriate actions are restricted to appropriate users/roles. |  | Primary: AC-6 Least Privilege
| Policies and procedures for IoT device vendor security requirements and documentation. Policies and procedures provide the details necessary to implement management and operational controls for establishing the requirements for IoT device manufacturers to provide documentation for each IoT device and associated system. Actions that may be necessary: | Manufacturer:
|  | Provide each IoT device customer with the appropriate documentation for the IoT device that is as descriptive and straightforward as deemed necessary by the customers that will use the documentation. |  | Primary: SR-5 Acquisition Strategies, Tools, and Methods
Agency:
|  | Follow a consistent procedure to communicate with the manufacturer if the IoT device documentation is not sufficient to support integrating the devices into their risk management processes. |  | Primary: SR-5 Acquisition Strategies, Tools, and Methods
|  | Implement policies and procedures to establish the requirements for IoT device manufacturers and/or vendors to provide documentation for each IoT device and associated system that describes: | Secure configuration, installation, and operation of the IoT device. | Primary: SR-5 Acquisition Strategies, Tools, and Methods
|  |  | Effective use and maintenance of IoT device security functions and mechanisms. | Primary: SR-5 Acquisition Strategies, Tools, and Methods
|  |  | Known vulnerabilities regarding the IoT device configuration and use of administrative (i.e., privileged) functions. | Primary: SR-5 Acquisition Strategies, Tools, and Methods
|  |  | IoT device user-accessible security functions/mechanisms and how to effectively use those security functions/mechanisms. | Primary: SR-5 Acquisition Strategies, Tools, and Methods
|  |  | Methods for user interaction with the IoT device, to enable individuals to use the IoT device and any associated systems and services in a more secure manner. | Primary: SR-5 Acquisition Strategies, Tools, and Methods
|  |  | User responsibilities in maintaining the security of the IoT device. | Primary: SR-5 Acquisition Strategies, Tools, and Methods
| Policies and procedures for IoT device protections and safeguards documentation. Policies and procedures provide the details necessary to implement management and operational controls for providing IoT device protections and safeguards documentation as required, in accordance with the organization's risk management strategy. Actions that may be necessary: | Manufacturer:
|  | Provide a process to ensure that the appropriate documentation only reaches the IoT customers that purchase the devices, to prevent malicious actors from gaining in-depth knowledge of the devices, and possibly the associated information systems, from the IoT device documentation. For example, IoT device detailed documentation provided to customers should not be posted and publicly accessible on the internet. |  | Primary: SR-7 Supply Chain Operations Security
Agency:
|  | Implement policies and procedures to appropriately protect IoT device documentation received from the manufacturer to ensure only employees with appropriate privileges can access and view the documentation. |  | Primary: AC-4 Information Flow Enforcement
| Policies and procedures for IoT device manufacturers to comply with information security requirements and the organizationally-defined security controls. Policies and procedures provide the details necessary to implement management and operational controls for IoT device and associated systems providers to comply with organizational information security requirements and the organizationally-defined security controls in accordance with applicable Federal laws, Executive Orders, directives, policies, regulations, standards, and guidance. Actions that may be necessary: | Manufacturer:
|  | Provide the means (tools, assistance, instructions, etc.) for IoT device customers to implement necessary security controls, along with documentation that describes how to configure the devices to implement these controls. |  | Primary: SR-5 Acquisition Strategies, Tools, and Methods
|  | Provide information to IoT device customers describing how the manufacturer stays up-to-date with regulations, laws, and other legal requirements and standards that apply to IoT devices. |  | Primary: SR-5 Acquisition Strategies, Tools, and Methods
Agency:
|  | Comply with organizational risk assessment policies and procedures to support secure configuration of IoT devices when integrating them into the larger information system. |  | Primary: RA-3 Risk Assessment
|  | Verify the IoT device configurations of the device and its interactions with the organizational information system before integrating the device into the information system. |  | Primary: CM-2 Baseline Configuration
| Policies and procedures to distribute IoT device policies, procedures and associated documentation. Policies and procedures provide the details necessary to implement management and operational controls for the organization to distribute IoT device policies, procedures and associated documentation to personnel with information security responsibilities and others as determined appropriate. Actions that may be necessary: | Manufacturer:
|  | Provide IoT device customers with documentation describing recommended device roles and responsibilities to support the ability for IoT device customers to determine to what level in their hierarchy of privileges that the documentation pertains. |  | Primary PL-4 Rules of Behavior
Agency:
|  | Implement policies and procedures to assign appropriate roles to examine IoT device documentation to determine the roles to whom the documentation should be disseminated. |  | Primary PL-4 Rules of Behavior
| Policies and procedures for organizational oversight. Policies and procedures provide the details necessary to implement management and operational controls for the organization to define oversight and user roles and responsibilities with regard to IoT devices. Actions that may be necessary: | Manufacturer:
|  | Provide to IoT device customers the means (tools, assistance, instructions, etc.) to have distinct roles with a hierarchy of privileges established within the IoT device. For example, the ability to assign read-only access to device data for auditors versus full access to the device for admins. |  | Primary: PL-1 Policy and Procedures
Agency:
|  | Implement policies and procedures that govern the different roles and responsibilities that IoT devices must be able to support. |  | Primary: PM-10 Authorization Process
| Policies and procedures for performing periodic checks and/or audits. Policies and procedures provide the details necessary to implement management and operational controls to perform periodic checks and/or audits to ensure IoT device security controls are functioning as intended following maintenance and repairs. Actions that may be necessary: | Manufacturer:
|  | Provide IoT device customers with the means (tools, assistance, instructions, etc.) for the IoT device to support audit and log maintenance and repairs operations. |  | Primary: MA-1 Policy and Procedures
Agency:
|  | Implement policies and procedures requiring IoT devices to be configured to properly alert the information system when maintenance and repair operations did not succeed without errors. |  | Primary: MA-1 Policy and Procedures
|  | The policy and procedures must include the actions to take when these operations fail, and details for how to control device interactions until these problems are resolved. |  | Primary: MA-1 Policy and Procedures
| Policies and procedures for third party, contractor, and vendor IoT security oversight. Policies and procedures provide the details necessary to implement management and operational controls for consistently using methods and techniques to monitor IoT device and associated systems security control compliance by external service providers on an ongoing basis. Actions that may be necessary: | Manufacturer:
|  | Provide appropriate means (tools, assistance, instructions, etc.) for the IoT device to be monitored and/or to report actions to a monitoring service. This could be included in the IoT device logging and auditing procedures. |  | Primary: SR-3 Supply Chain Controls and Processes
|  | Establish a process to take feedback from IoT device customers about whether IoT device logging is sufficient for customers to follow security control compliance procedures required by external service providers. |  | Primary: SR-3 Supply Chain Controls and Processes
|  | Describe how the IoT device meets legal requirements, for the activities of the organizations to whom they outsource activities to support the IoT devices and their IoT device customers through contractual requirements, remote monitoring, and other means. |  | Primary: SR-3 Supply Chain Controls and Processes
|  | Provide auditing and monitoring requirements to the IoT device manufacturer's external service providers that outline and/or describe their responsibilities, the oversight that will be performed, and other relevant information. |  | Primary: SR-3 Supply Chain Controls and Processes
Agency:
|  | Implement procedures to ensure the IoT device users properly implement security controls in compliance with procedures required by external service providers. |  | Primary: SR-3 Supply Chain Controls and Processes
|  | Follow procedures to communicate with IoT device manufacturers when the IoT device is not capable of following these compliance procedures, describing the deficiencies and the actions necessary to meet compliance, along with the effect of non-compliance within the associated information system. |  | Primary: SR-3 Supply Chain Controls and Processes
|  | Ensure proper language is within IoT device manufacturer contracts, and their external service providers, describing how they will monitor compliance, perform audits, etc., as appropriate to the IoT device and control. |  | Primary: SR-3 Supply Chain Controls and Processes
|  | Provide a clear description of the legal compliance requirements to the IoT device manufacturer detailing the compliance needs that must be fulfilled by the IoT device manufacturer to meet all associated compliance requirements, as appropriate to the IoT device and controls. |  | Primary: SR-3 Supply Chain Controls and Processes
|  | Follow procedures to consistently ensure appropriate security and privacy controls language is included within contracts with IoT device manufacturers and service providers. |  | Primary: SR-3 Supply Chain Controls and Processes
Software Update. The management and operational controls to support secure IoT device software updates. | Policies and procedures to identify, report, and correct IoT device system flaws. Policies and procedures provide the details necessary to implement management and operational controls for how to identify, report, and correct IoT device system flaws. Actions that may be necessary: | Manufacturer:
Communicate and provide to IoT device customers instructions for sending the manufacturer flaw reports.
|  | Communicate and provide to IoT device customers a description of the procedures followed for processing the flaw reports, determining which flaws need to be fixed, and for correcting identified flaws. |  | Primary: SI-2 Flaw Remediation
|  | Communicate device remediation efforts with stakeholders and IoT device customers. |  | Primary: SI-2 Flaw Remediation
Agency:
|  | Implement policies and procedures for identifying and reporting IoT device flaws to the manufacturer. |  | Primary: SI-2 Flaw Remediation
|  | Follow documented procedures to receive IoT device remediation reports from manufacturers. |  | Primary: SI-2 Flaw Remediation
| Policies and procedures for incorporating IoT device flaw remediation into the configuration management process. Policies and procedures provide the details necessary to implement management and operational controls for incorporating IoT device flaw remediation into the organizationally-defined configuration management process. Actions that may be necessary: | Manufacturer:
|  | Communicate to the IoT device customers the processes that will be followed to communicate the IoT device remediation efforts with stakeholders (IoT device customers, users, etc.). |  | Primary: CM-4 IMPACT ANALYSES (1) IMPACT ANALYSES ¦ SEPARATE TEST ENVIRONMENTS
Agency:
|  | Implement policies and procedures for receiving and responding to IoT device remediation reports from manufacturers. |  | Primary: CM-4 IMPACT ANALYSES (1) IMPACT ANALYSES ¦ SEPARATE TEST ENVIRONMENTS
|  | Implement policies and procedures for incorporating flaw remediation reports from IoT device manufacturers into the organizationally-defined configuration management processes. |  | Primary: CM-4 IMPACT ANALYSES (1) IMPACT ANALYSES ¦ SEPARATE TEST ENVIRONMENTS
| Policies and procedures for software updates for flaw remediation. Policies and procedures provide the details necessary to implement management and operational controls for how to establish the types of tests necessary for IoT device and related system software updates related to flaw remediation, for effectiveness and potential side effects before installation. Actions that may be necessary: | Manufacturer:
|  | Communicate to IoT device customers and other stakeholders the types of security and privacy tests necessary for the IoT device and software before installation. |  | Primary: CM-4 IMPACT ANALYSES (1) IMPACT ANALYSES ¦ SEPARATE TEST ENVIRONMENTS
Agency:
|  | Implement policies and procedures for receiving IoT device and software test information from manufacturers. |  | Primary: CM-4 IMPACT ANALYSES (1) IMPACT ANALYSES ¦ SEPARATE TEST ENVIRONMENTS
|  | Implement policies and procedures for testing IoT devices following updates for effectiveness and determining potential side effects. |  | Primary: CM-4 IMPACT ANALYSES (1) IMPACT ANALYSES ¦ SEPARATE TEST ENVIRONMENTS
|  | Incorporate IoT device manufacturer-recommended tests into organizationally-defined configuration and/or change management processes. |  | Primary: CM-4 IMPACT ANALYSES (1) IMPACT ANALYSES ¦ SEPARATE TEST ENVIRONMENTS
| Policies and procedures for security-relevant software updates. Policies and procedures provide the details necessary to implement management and operational controls for the installation of IoT devices and associated systems security-relevant software updates within an organizationally-defined time period from the vendor release of the updates. Actions that may be necessary: | Manufacturer:
|  | Provide information to IoT device customers and stakeholders regarding the criticality of IoT device software and hardware updates, and the recommended time period within which the update should be installed. |  | Primary: RA-9 Criticality Analysis
|  | Communicate to IoT device customers and other stakeholders IoT device system environment dependencies or potential impacts for the updates. |  | Primary: RA-9 Criticality Analysis
Agency:
|  | Implement policies and procedures governing the time period within which IoT device manufacturer-supplied updates should be installed. |  | Primary: RA-9 Criticality Analysis
|  | Incorporate the IoT device update procedures within organizationally-defined configuration and/or change management procedures. |  | Primary: RA-9 Criticality Analysis
|  | Implement policies and procedures for testing IoT devices following software updates for effectiveness and determining potential side effects. |  | Primary: RA-9 Criticality Analysis